## Slide 1: PLOTLVP – GETTING STARTED
Create a Shortcut
Right Click on Plotlvp.exe and select create shortcut
Right Click on the shortcut and select properties
In Target: field set size of plot85 text window.
ex: 800 rows by 120 columns
In Start in: select a directory to become the current working directory. Especially useful if running Auto GPLS by Directory
Define Environment Variable for grfont.dat
Control Panel  System Advanced System SettingsEnvironment Variables

## Slide 2
NOTE: Only for PCs with an AMD processor.
If you are using and Intel processor skip this step.
At certain times while running PlotLVP you may encounter a popup window like this one.
As stated this is just a warning message. However, if you close this window you will also terminate Plotlvp.exe.
To prevent this situation from happening create the following environment variable.
KMP_AFFINITY = disabled

## Slide 3: Example Start in folder
Some useful files to have in the Start in folder:
Template files for auto GPLS
JCPDS files to display peak positions for known materials.
A *.edf file - energy calibration file
Note that there are subfolders in the Start in folder.
These will be needed for Run Auto by Directory from the GPLS menu.

## Slide 4
Notice that folder GM_A contains a template file and a med file.
Folder GM_B contains only med files
Folder GM_C contains med files and a template file

## Slide 5
Some Basics – Part I
Read and plot a med file
Menu: FileRead File/Plot data
Select a file with the navigation window.

## Slide 6
Some Basics – Part I continued
Read and plot a JCPDS reference file
Menu: JCPDSRead file/ Plot lines
Select a file with the navigation window.
Up to 5 reference files may be read/displayed. The Active Entry will be used for other procedures.
See also JCPDSProfile/General Setup

## Slide 7
Some Basics – Part I continued
Selecting a region of the plot window
Bracket a region of the plot with two dots (periods) immediately followed by a third dot to expand the region. Red color added here for clarity. A slash (/) will expand that region and call GPLS. More on GPLS later.
Left
Right

## Slide 8
Displaying Fluorescence Lines
Fluorescence data for six elements are built in. Data for four more elements can be added on a rotating basis. The fifth element added will replace the first and so on. Select “Add element”. Here Hf and Y have been added, one at a time. Then Hf was selected.

## Slide 9
Select “Plot Lines”

## Slide 10
GPLS General Purpose Least Squares
Step 2. Read a data file.
Step 3. Read and plot a JCPDS file. Not required but recommended to capture HKLs.
Step 4. Optionally select multiple detectors from GPLS General Setup
Step 5. Select a region of data with . . /
Step 6. Follow the on screen directions. If you did step 3, remember to point to the peak with the appropriate number to capture the hkl indices.
Note: If you want to sum the data from multiple detectors then select Sum detector-fast or
Sum detector-slow. This needs to be done before reading the datafile. Fast just sums channel
by channel. Slow sums by energy to match the energy from detector 1.
Step 1. Select the general refinement parameters
5 Cycles is generally sufficient.
Set the number of peaks to fit. If the number of peaks will be different in different ranges you can select 0 and then use ‘q’ for peak position after selecting the peaks. Not recommended when creating a template file.
If a JCPDS reference file is active select peak position with the peak number from the reference file to tag ‘hkl’s.
If fitting multiple peaks you can refine a single peak width or individual peak widths.

## Slide 11: PlotLVP Plot window Hot Keys
When the plot window is active:
Pressing any key will display the character at the cursor position and print channel number, intensity, energy, d-spacing
If a JCPDS reference material has been selected the number and shifted number keys point to the corresponding reference line. Information for that line can later be used by GPLS. E or e indicate the position corresponds to an energy peak and not a diffraction peak.
The selection commands "..." and "../" will expand the range pointed to by the first two dots. A third dot will expand what is displayed, while the / will expand and invoke GPLS.
N and n will read the next/previous data file in the sequence.
Q or q will quit and return to the menu.
S, s, esc: S and esc will redisplay the original data, and s will redisplay the current data selection. Position and JCPDS markers will be lost.
Function keys F1 through F10 will select detectors 1-10 respectively. Calibration of each detector is maintained. With some keyboards, after pressing F10, you may have to press F1 before pressing any other function key.
Control x, y and z will invoke the first, second and third template files respectively.
"I" and "i" will increment/decrement the cell edges of the active JCPDS reference material , recalculate the d-spacing and replot the data. See menu item JCPDS Profile/General Setup to select the active JCPDS reference material.
T or t decrement/increment edf parameter tth and replot. Must be activated. See E-caleb setup
Y or y will reset the y-scale factor to that position
P or p create a print file if a printer has been defined

## Slide 12
Setting Up and Running Auto GPLS by Directory
Prerequisites
Read and plot a med file – to initialize the graphics subsystem
Create one or more template files and place in the appropriate directories. See previous slides.
Read a JCPDS file – optional. Will include HKL values in peak files.
Tips and Hints
Test settings with a few files first using hot keys N, n and control X
If processing many files:
Select ‘suppress graphics’ in GPLS Auto Peakfit Setup
Reduce ‘Info messages’ to ‘few’ or ‘none’ in Utilities II menu.
Be very careful if selecting ‘Update template data’

## Slide 13: Flow Chart for Auto GPLS by Directory
Program switches to the GPLS Working Directory
A check is made for sub directories.
If there is a sub directory, switch to it. If no more sub directories go to step 8.
Check for template file.
If template file then use it. If no template file then continue using current template data.
Check for med or chi files.
Process all the data files and return to step 2.
Finished!
Current Working Directory
More Subdirectories?
No
Yes
No
Yes
Change Directory
Is there a Template file?
Read new Template data
More data files?
Yes
Process data
Finished
Steps 1 and 2
Steps 3 and 4
Step 5
Step 6
Step 7

## Slide 14
Setting Up and Running Auto GPLS by Directory with MED Files
File type: MED (default)
Working directory defaults to Start in directory (can be modified)
Do not create individual pk files. Create Region and all.pks files.
Checking ‘Use Range 1 to control shift’ will have the template peak position replaced by the highest point if within 0.5 of range width of template peak position. Check ‘Update Template data’ to shift all template data by shift of this peak. Range 1 must be a single peak.
Do not Pause between regions or files and Skip confirmation of Template file.
Not Creating template file, not Suppressing Graphics and not tweaking calibration
Including Reject information in pks files and not linking to Celrf
Reject peak if: Goodness of Fit exceeds 500, fit position moves by more than 7.5% of region width, or Intensity differs from template value by more than a factor of 8 or 5*Sig(I) > I (Note: fitted Intensity is ‘area under curve’ and template is just one point.)
If processing many files consider selecting ‘Suppress Graphics’ and limiting output to text window (See Utilities II menu)
1,2
3
4
5
6
7
8

## Slide 15: Select Fit2D/Chi  Chi Setup
Check GPLS Chi Mode = 1
Set wavelength= 0.1847
Setting Up and Running Auto GPLS by Directory with CHI Files

## Slide 16: Sample Directory Structure – Auto by Directory with Chi files
The Working Directory has two subdirectories
AutoRun_111
AutoRun_211
Each subdirectory has a template file and Chi files
Top level directory - The Working Directory
D:\IntelFortran\testdata\ChiFiles\CaSiO3-DJW3

## Slide 17: AutoGPLS setup - Chi files
Check the Working Directory
Select other options as needed.
Reduce the amount of printed output if desired
Set File Type to Chi
Level 3 – Few

## Slide 18: Beginning and ending output - Run Auto by Directory
Files created.
Each subdirectory now has an all.pks
A region.d1r1
and a ChiVsD.dat file.

## Slide 19
More about the ChiVsD.dat File
1 Reflections : 72 datapoints
HKL: 1 1 1
5. 2.0896 3. 1
10. 2.0713 770. 0
15. 2.0705 936. 0
20. 2.0699 875. 0
25. 2.0691 873. 0
30. 2.0680 880. 0
35. 2.0677 848. 0
40. 2.0673 943. 0
45. 2.0667 1048. 0
50. 2.0666 1193. 0
.
.
.
320. 2.0803 1010. 0
325. 2.0792 2120. 0
330. 2.0772 2913. 0
335. 2.0764 2845. 1
340. 2.0752 2224. 0
345. 2.0747 1457. 0
350. 2.0743 1121. 0
355. 2.0739 912. 0
360. 2.0734 678. 0
2.07569 0.00197 0.46831
Each data line contains Chi angle, d-spacing, Intensity and a rejection flag. Flag = 1  reject this point in any calculations.
Last line contains: Linear fit: intercept, slope, correlation coefficient

## Slide 20
Using the ChiVsD.dat File to get best fit Strain
You can use the ChiVsD file to get a better estimate of the strain by optimizing the Chi zero value.
Example 1. Read the ChiVsD file with default values in Chi Setup. Select Plot Strain function in Gpls General Setup

## Slide 21
The results almost the same as in the original ChiVsd.dat file. Notice that 2 of the 72 points were rejected.
Strain plot confirms that the point with a d-space of 2.0896 should be rejected. Change the reject flag for this point in the ChiVsD.dat file to 1.

## Slide 22
The results somewhat improved. Slightly higher correlation coefficient. Notice that 3 of the 72 points were now rejected.

## Slide 23
Using ChiVsD.dat Example 2
Apply a Chi Angle Offset of -35 degrees then increment by 5 degrees (Offset Inc) 15 times(# of incs) finding the best fit line.
Results indicate that Chi zero is close to -30 degrees with a correlation coefficient 0.88.

## Slide 24
Creating Template Files
Template files provide the information necessary to fit peak data – left and right backgrounds and peak position and intensity
Manual Method.
  Select Create template file in GPLS Auto Peakfit Setup
  It is recommended that a JCPDS file be active to capture HKLs but this is not required.
  Fit the desired peaks as described in Basics Part I. Do not select 0 peaks in GPLS General Setup. Use a discrete number of peaks.
  When finished fitting peaks be sure to uncheck Create template file.
II. Auto Generate from JCPDS
  Select the menu item JCPDS Profile/General Setup
  Peak Width is number of channels centered
  on Peak positions. Only reflections with Min intensity will be used.
  Select which JCPDS entry to use – active entry.
  3. Select the menu item JCPDS Create template file

## Slide 25
Using Cell Refine – Refining Unit Cell Parameters
General Steps:
Read and plot a data file
Read and plot a JCPDS file
Create and read a template file.
Select Create pk files in GPLS -> Auto Peakfit Setup. Be sure Create Template file is not checked.
In Graphics window type Control X to invoke GPLS. A *.pk file should have been created.
Use Cell Refine-> Setup. Enter Cell parameters and refinement switches as appropriate. Example for Hexagonal System.
Systematic Errors is not appropriate for energy dispersive data.
Delta Q Reject is (Qc-Qo) (Q is 1/d2; Qo is Q observed, and Qc is Q calculated).
Use Cell Refine -> Refine. Select the pk file created in step 5. A listing file from the refinement will be created.
Alternatively, do steps 1-3, 6, and in step 4, Select Create pk files and Link to Celrf in GPLS -> Auto Peakfit Setup then step 5.

## Slide 27: Processing Ultrasonics Data - Quick Start:
1. Ultrasonics->Import Ultrasonics raw data
2. Ultrasonics->Read
3. Ultrasonics->Plot Waveform
Must enter Q or q to enable next step
Use n and N to read new files.
4. Ultrasonics->Select Segment 1
Point and hit any key to select the Left and then
the Right side of segment 1.
5. Ultrasonics->Select Segment 2
Point and hit any key to select the Left side of segment 2.
Segment 2 will have the same size as segment 1.
6. Ultrasonics->Plot Segments
Use Hot Keys to overlap segments. Q or q when finished.

## Slide 28: Processing Ultrasonics Data – Hot Keys:
L l Select left edge of zoomed region
R r Select right edge of zoomed region
S s Unzoom. Restore full pattern
Q q Quit graphics
+ - Scale segment 2 Up / Down
[ ] Scale segment 1 Up / Down
< , Shift segment 2 left
> . Shift segment 2 right
D d Shift segment 2 Down
U u Shift segment 2 Up
/ * Divide / multiply horizontal shift amounts for segment 2 by 10
; ' Divide / multiply vertical shift amounts for segment 2 by 10
n N Read next / previous file. Only active during 'Plot waveform'

## Slide 29: Processing Ultrasonics Data – Step by Step Part 1 – Reading the data
On initial startup there are only two Ultrasonics options available:
Import Ultrasonics raw data When selected a navigation panel will open to allow you to pick a file. Once a file as been imported the Read option becomes available.
Get Scale/Shift Factors
Read: Prepares the imported data for ultrasonics processing.
The Plot waveform option will then be available. See next slide.
The default Scale factors for both segments are 5.0%. Horizontal and Vertical shifts are 0.5 and 0.02 respectively

## Slide 30: Processing Ultrasonics Data – Step by Step Part 2 – Plotting the data
Plot waveform hotkeys
L l Select left edge of zoomed region
R r Select right edge of zoomed region
S s Unzoom. Restore full pattern
n N Read next / previous file.
Q q Quit graphics
You must enter Q or q to enable next step. Select Segment 1
The plot window can be either full screen or zoomed mode
when you Quit graphics.

## Slide 31: Processing Ultrasonics Data – Step by Step Part 3 – Selecting segments
Select Segment 1 will replot the data. Point to the left edge of the segment and press any key. Then point to the right edge and press any key. The segment will be plotted. Select Segment 2 will now be available. Choosing it
Will cause the full pattern to be plotted. Point to the left edge of segment 2 and press any key. The width of segment 2 will be the same as segment 1. Segment 2 is plotted and menu option Plot Segments is now available. Choosing this causes both segments to be plotted. The left segment is in black and the right is in red. Now ready to overlap segments.

## Slide 32: Processing Ultrasonics Data – Step by Step Part 4 - Overlapping segments
Use these hot keys to overlay segment 2 onto segment1
+ - Scale segment 2 Up / Down
[ ] Scale segment 1 Up / Down
< , Shift segment 2 left
> . Shift segment 2 right
D d Shift segment 2 Down
U u Shift segment 2 Up
/ * Divide / multiply horizontal shift amount for segment 2 by 10
; ‘ Divide / multiply vertical shift amount for segment 2 by 10
Q q Quit graphics when finished
(Note: Data for illustration only. Not meant to represent good data.)

## Slide 33: Processing Ultrasonics Data – Hints and Tips – Inverting a waveform
To invert a waveform:
Set the corresponding segment’s scale factor to negative 1. Select UltrasonicsGet Scale/Shift Factors
Scale the segment Up or Down with the appropriate hot key: + - [ ]. Then shift accordingly.
Reset the corresponding segment’s scale factor back to a positive number.
+ or -
U or u(s)

## Slide 34: Birch Murgnahan Equation of State
The EoS parameters are initially taken from the active JCPDS entry and/or entered manually.
One of two calculations can be made.
V0/V can be calculated if values for pressure and temperature are given.
2. Pressure can be calculated if volume and temperature are entered.

## Slide 35: Birch Murgnahan – Calculating V0/V
Enter values for Temp and Pressure
Click OK
Values for Volume and V0/V have been calculated

## Slide 36: Birch Murgnahan – Calculating Pressure
Select BM. Enter values for Volume and Temp
Click OK
The pressure has now been calculated
Select BM again and click OK
Pressure not yet calculated